## Worksheet 1
Effect | Value | Is calibration included
in Sect. 3?
Noise | 24 nT rms | n/a1
Gain | 5.86 µT | Yes
Static offset | 444 nT | Yes
Linearity |  | No
Temperature sensitivity | 10.9 µT | Yes
Hysteresis | 50 nT | No
Off-axis term | 4.7 µT | Yes