## Worksheet 1
Sensor model | Brand | Main measure (unit) | Bus | Range | Accuracy | Resolution | Response time | Remarks
BME280 | Bosch | P (hPa) T (°C) RH (%) | I2C and SPI | 300 to 1100 hPa −40 to +85 °C 0 % to 100 % | ± 0.12 hPa ± 0.5 °C ± 3 % | 0.18 Pa 0.01 °C 0.008 % | Faster than RH Faster than RH τ63 = 1 s | Offset ± 1.5 Pa K−1, 1 % hysteresis
MH-Z16 | Winsen | CO2 (ppm) | UART | 0 to 2000 ppm | 50 ppm + 5 % of reading | 1 ppm | τ90 | Self-calibrated
CozIR | SST | CO2 ppm | I2C and UART | 0 to 2000 ppm | 30 ppm + 3 % of reading | 1 ppm | τ90 | Offset 0.14 % of reading per 1 mbar barometric pressure change from 1013 mbar
SCD30 | Sensirion | CO2 ppm | I2C and UART | 400 to 10 000 ppm | 30 ppm + 3 % of reading | 1 ppm | τ63 | Also measures RH and T, self-calibrated
LuminOx | SST | O2 % | UART | 0 % to 25 % of O2 | 2 % FS (0.5 % of O2) | 0.01 % of O2 | τ90 | Also measures P
OXYbase | PreSens | O2 hPa | RS-232 RS-485 4–20 mA | 0 to 500 hPa | 4 hPa at 200 hPa | 0.3 hPa at 200 hPa | τ90 | Also measures dissolved O2