## Worksheet 1
Sensor | Measuring range (accuracy) | Links
CO2-infrared spectrometer GMP-252 | 0–2000 ppmv (±18 ppmv). The sensor can be set to higher concentrations with lower resolution | https://www.vaisala.com/en/products/instruments-sensors-and-other-measurement-devices/instruments-industrial-measurements/gmp252
Combined air humidity- temperature probe DKRF500 EA | 0 % RH–100 % RH (±1.8 % RH) −40–+80 °C (±0.3 °C) | https://www.driesen-kern.com/products/humidity-and-material-moisture/transmitters-and-probes/humidity-temperature-standard-model-dkrf500.php
Temperature probe DKT200 | −40–+80 °C (±0.3 °C) | https://www.driesen-kern.com/products/temperature-measurement/temperature-probes/dkt200-temperature-probe.php
Air pressure sensor AMS 4711 −1200-B | 700–1200 mbar (0.3 % FSO) | https://www.amsys-sensor.com/products/pressure-sensor/ams4711-analog-pressure-transmitter-5v-output/
PAR sensor Apogee SQ 421 | 1–4000 µmol m−2 s−1 (±5 %) | https://www.apogeeinstruments.com/sq-421x-ss-sdi-12-digital-output-quantum-sensor/
Anemometer ATMOS 22 | 0–30 m s−1 (±0.3 m s−1) 0–359° (±1°) | https://www.metergroup.com/en/meter-environment/products/atmos-22-ultrasonic-anemometer
Precip sensor RG-15 | (±10 %) | https://www.antratek.de/optical-rain-gauge-rg-15
Air temp, RH, pressure sensor BME280 | −40–+85 °C (±1.0 °C); 0 % RH–100 % RH (±3 %); 300–1100 hPa (±1 hPa) | https://www.bosch-sensortec.com/products/environmental-sensors/humidity-sensors-bme280/
Altimeter and echosounder Ping Sonar | 0.5–70 m (1–25 cm) | https://bluerobotics.com/store/sensors-sonars-cameras/sonar/ping-sonar-r2-rp/