## Worksheet 1
Parameter | Value
Power supply | 100–500 V DC
Limit values for angle measurement | X axis ± 90
Y axis ± 45°
Angle measuring accuracy | 0.2°
Number of PWM channels | 8 (upgradable to 20 channels)
Communication with PC | RS-485 MODBUS RTU